###### Section 1.  FY06 Operational Data

CONTACT INFORMATION

Name:	Joanne Soczek			Agency/Department: Fitchburg State College

Phone: 978-665-3756                                      Email: jsoczek@fsc.edu

FSC Sustainability Team members:

Jay D. Bry, Assistance Vice President for Administrative Services

Joanne Soczek, EH&S Officer- FSC Sustainability Team Coordinator

David Petrucci, Chief Engineer, Power Plant

Doreen Ares, Director of Procurement

Dr. Christopher Picone, Professor of Biology

Mary Beth McKenzie, Executive Director of Student Auxiliary Services

###### * Please remember to indicate units of measurement used if different from measure listed

| # Topic | ## FY06 Data |  |  |  | ## Unit* |  | Cost | Notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building Energy Use |  |  |  |  |  |  |  |  |  |
| Electricity |  |  | 10,183,600 |  |  | KWh | $2,074,949 |  | $1,611,352 for electricity, $463,597 for Energy Management System provided by NORESCO |
| Natural Gas |  |  | 209,235 |  |  | therms | $ 347,609 |  | Converted one boiler to dual fuel |
| Fuel Oil #2 |  |  | 68,851 |  |  | gallons | $ 801,622 |  | #6 and #2 fuel oil combined |
| Fuel Oil #4 |  |  |  |  |  | barrels | $ |  |  |
| Fuel Oil #6 |  |  | 469,502 |  |  | gallons | $ |  |  |
| Biodiesel ( #2 heating) |  |  |  |  |  | gallons | $ |  | e.g. B5 |
| Onsite Renewables |  |  |  |  |  | KWh | $ |  | e.g. Solar /Wind/Biomass |
| Renewable Energy Credits |  |  |  |  |  | KWh | $ |  | e.g. Solar PV/Wind |
| Other (e.g. Steam) |  |  |  |  |  |  | $ |  |  |
| Vehicle Fuel Use |  |  |  |  |  |  |  |  |  |
| Gasoline |  | 13,203 |  |  | gallons |  | $ 30,102.54 |  | Gasoline and diesel fuel for vehicles, grounds equipment and emergency generators. |
| Low Sulfur Diesel |  | 375.5 |  |  | gallons |  | $ |  | 5 diesel engines/generators. |
| Ultra low sulfur Diesel |  |  |  |  | gallons |  | $ |  |  |
| Biodiesel |  |  |  |  | gallons |  | $ |  | e.g. B20 soy-based or waste oil |
| Ethanol (E85) |  |  |  |  | gallons |  | $ |  |  |
| CNG |  |  |  |  | gallons |  | $ |  |  |
| Propane |  |  |  |  | gallons |  | $ |  |  |
| Electric |  | 60 |  |  | KWh |  | $2999 |  | At 0.13698/KWh for 12 GEM cars fully charged daily, included in electricity KWh and cost totals. |
| Water Use |  |  |  |  |  |  |  |  |  |
| Water |  |  |  |  |  |  | $ |  |  |
| Sewer (if separate) |  | 33,256,510 |  |  | gallons |  | $ 217,304 |  | Waste metered by the City of Fitchburg |
| Solid Waste and Recycling (see Appendix I for common volume/weight conversions) |  |  |  |  |  |  |  |  |  |
| Solid Waste total * |  | 551.7 12,981.5 |  |  | Tons cyds |  | $ 75,408 |  | Maximum capacity of all dumpsters for solid waste, no exact tonnage available from Allied Waste. |
| Recycling total * |  | 200.76 |  |  | Tons |  | $ 10,832 |  | Fibers, electronics, UW included. |
| Recycling Programs |  | Y/N |  | Amount | Units |  | $ Cost |  | Notes |
| White Paper |  | Y |  | 68.7 |  |  | $ no fee |  | Recycled through BFI |
| Mixed Paper |  | Y |  | 11.41 | tons |  | $ 5240 |  | Mixed fibers recycling program. Recycled through IRN |
| Cardboard |  | Y |  |  |  |  | $ |  | Mixed fibers recycling program. Recycled through IRN |
| Mixed Cans & Bottles |  | Y |  |  |  |  | $ |  | Deposit b/c collected by Student clubs and staff- no quantities available |
| Lawn and Yard Waste |  | Y |  | 92.5 | tons |  | $ |  | Most composted on site, some brought to landfill composting site |
| Food Waste |  | N |  |  |  |  | $ |  |  |
| Scrap Metal |  | Y |  | 5.36 | tons |  | $ 2232.00 |  | Bleachers recycled as surplus material. In-house clean outs and renovations Included in solid waste cost |
| Other C&D Waste |  | Y |  | 1.58 | tons |  | $ |  | Included in solid waste cost. |
| White Goods |  | Y |  | 4.04 | tons |  | $ |  | Included in solid waste cost |
| Electronics/Computers |  | Y |  | 5.05 | tons |  | $ 1515.98 |  | Recycled through IRN |
| Toner Cartridges |  | Y |  |  |  |  | $ |  | Donated to local charities, no quantities available |
| Batteries |  | Y |  | 0.63 | tons |  | $ 503.60 |  | Recycled through IRN, Veridium |
| Cell Phones |  | Y |  | 119 | units |  | $ |  | Donated to local charities |
| Other: Fluorescent Bulbs Tires Spent Wipes/oil filters |  | Y Y Y |  | 1.49 15 12 | Tons Tires 55gal drums |  | $ 339.47 $ $ 1000.00 |  | Recycled through IRN Brought to landfill Recycled through CRT All included in solid waste cost |

###### Section 2.  Utility Account Data Request

Agency Name: Fitchburg State College

Contact Name for Utility Account Information: Joanne Soczek

Email: jsoczek@fsc.edu                                         Phone: 978-665-3756

Sample of data needed for Electricity and Gas Accounts (fill in Excel Templates sent to you)

| Utility | Account # | Meter # | Facility | Address | Town |
| --- | --- | --- | --- | --- | --- |
| Electric |  |  |  |  |  |
|  | Main A#: 3000079- 3000076 | WC279 28820027 | Main | North & Ross | Fitchburg |
|  | 3000079- 3000076 | 29138015 | Industrial Arts Bldg | 316 Highland Ave | Fitchburg |
|  | 3000079- 3000076 | 30418071 | Miller Hall | 230 Highland Ave |  |
|  | 3000079- 3000076 | 70595576 | Anthony Bldg | 280 Highland Ave |  |
|  | 3000079- 3000076 | 55152547 | Russell Towers | 260 North St |  |
|  | 3000079- 3000076 | 57492536 | Hammond Bldg | 160 Pearl St |  |
|  | 3000075-3000072 | 80113765 WCS9 | McKay | 67 Rindge Rd |  |
|  | 3000079- 3000076 | 57790499 | Townhouses TH-1 TH-2 TH-3 TH-4 TH-5 TH-6 TH-7 | 241-243 Highland Ave 261-263 Highland Ave 170 Cedar St 158 Cedar St 152 Cedar St 150 Cedar St 140 Cedar St |  |
|  | 3008431-3006550 | 92667902 WC177 | Elloit Field House | 53 Pearl Hill Rd |  |
|  | 3000079- 3000076 | 00010053 BOP | Edgerly Bldg | 281 North St |  |
|  | 3000079- 3000076 | 82772683 | Percival Hall | 254 Highland Ave |  |
|  | 3000079- 3000076 | 30418000 | Parkinsons Gym | 315 North St |  |
|  | 3000079- 3000076 | 82770268 | Condike Science Bldg | 333 North St |  |
|  | 3000079- 3000076 | 82770267 | Herlihy Hall | 320 North St |  |
|  | 3000079- 3000076 | 82770266 | Thompson Hall | 240 Highland Ave |  |
|  | 3000079- 3000076 | 84185240 | Aubuchon Hall | 234 North St |  |
|  | 3000079- 3000076 | 79587283 | Mara Village MV-1 MV-2 MV-3 MV-4 MV-5 MV-6 MV-7 MVC | 299 Highland 210 Cedar St 220 Cedar St 329 Highland 339 Highland 250 Cedar St 260 Cedar St 319 Highland |  |
|  | 3047331-3034180 | 65026945 T21945 | North 2 Parking Lot | North St |  |
|  | 3046136-3070272 | T21645 | North 3 Parking Lot | North St |  |
|  | 3047269-3034154 Old#T24939 | ACD0000 114156 | Upper McKay Parking Lot | North St @ Rindge Rd |  |
|  | 3046163- 3069482 | WC301 | Rec. Center | 130 North St |  |
|  | 3046163- 3033840 | ACD0000 310937 |  | 349 Highland Ave |  |
|  | 3046365- 3068510 Old#T29285 | ACD0000 113304 | Ross St Parking Lot | Ross St @ North St |  |
|  | 3046503- 3071250 | 22425371 T31371 | Civic Ctr Parking Lot | Pearl Hill & John Fitch Hwy |  |
|  | 3163631- 3003628 | 82730470 WC76 | Service Ctr | 167 Klondike Ave |  |
|  | 3046163- 3030696 | 96739098 T27098 | Cedar St House | 22 Cedar St |  |
|  | 3046163- 3030688 | 26850019 P1398N | Cedar St House, ally | 30 Cedar St |  |
|  | 3046163- 3030690 | P36N | Cedar St House, Basement | 30 Cedar St |  |

| Utility | Account # | Meter # | Facility | Address | Town |
| --- | --- | --- | --- | --- | --- |
| Natural Gas | 3047269- 3075968 | 20335 | Herlihy Hall | 320 North St | Fitchburg |
|  | 3047269- 3075586 | 20019 | Power Plant | 299 North St |  |
|  | 3163631- 3003628 | 14855 | Service Center | 167 Klondike Ave |  |
|  | 3046365- 3033686 | 14789 | Russell Towers | 260 North St |  |
|  | 3046467- 3033776 | 36171 | McKay Boiler Room | 30 Lenox St |  |
|  | 3046163- 3033840 | 31954 |  | 349 Highland Ave |  |
|  | 3046171-3070798 | 16156 | Elliot Field House | 53 Pearl Hill Rd |  |
|  | 3046163- 3069482 | 20042 | Rec Center | 130 North St |  |
|  | 3000081- 3000078 | 11386 | Condike Science Bldg | 333 North St |  |
|  | 3046501-3033808 | 17795 | Aubuchon Hall | 234 North St |  |
|  | 3046543- 3033838 | 7290 | Conlon Ind. Arts | 352 Highland Ave |  |
|  | 3046819- 3033962 | 30961 | Mara Commons | 319 Highland Ave |  |
|  | 3046253- 3033590 | 22111 | Mara Aux. Generator | 339 Cedar St |  |
|  | 3046229- 3033576 | G4009 | Mara 6 | 250 Cedar St |  |
|  | 3047261- 3034146 | 6652 | Mara 5 | 339 Highland Ave |  |
|  | 3047259- 3034144 | 7191 | Mara 4 | 329 Highland Ave |  |
|  | 3046235- 3033580 | 18885 | Mara 7 | 260 Cedar St |  |
|  | 3046251- 3033588 | 17280 | Mara 3 | 220 Cedar St |  |
|  | 3046163- 3074692 | 17791 | Townhouse 6 | 150 Cedar St |  |
|  | 3046163- 3033516 | 31807 | Townhouse 5 | 156 Cedar St |  |
|  | 3046249- 3033586 | 32871 | Mara 2 | 210 Cedar St |  |
|  | 3046821- 3033964 | 32869 | Mara 1 | 299 Highland Ave |  |
|  | 3046163- 3033848 | 29985 | Alumni House | 281 Highland Ave |  |
|  | 3046163- 3030688 | 28382 | Cedar St House, stove | 30 Cedar St |  |
|  | 3046163- 3030694 | 17956 | Cedar St House DR Rooftop unit | 22 Cedar St |  |
|  | 3046163- 3074690 | 34526 or G15112 | Townhouse 7 | 140 Cedar St |  |
|  | 3046163- 3075906 | 18184 or 34524 | Townhouse 4 | 158 Cedar St |  |
|  | 3046163- 3030696 | 31563 | Cedar St House, heat/hw | 22 Cedar St |  |
|  | 3046503- 30333810 | 29671 | Power Plant pilot 2&3 | 299 North St |  |

###### Section 3.  Agency Sustainability Activities

Agency Name: Fitchburg State College

Sustainability Coordinator: JoanneSoczek

Contact Phone/Email: 978-665-3756, jsoczek@fsc.edu

### Project Name: Feasibility Study- Condike Sciences Building

| Topic: | Energy Waste/Recycling Sustainable Design X Other Water Purchasing Mercury/Toxics Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Condike Sciences Building |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-6665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Feasibility studies are ongoing to evaluate our sciences building, to determine if a remodel, renovation or a new science building will best meet our needs. |  |  |
| Cost: |  | Savings (if relevant): |  |
| Results (env. and other benefits) | Planning for the project is ongoing. |  |  |

### Project Name: FSC Recycles- Mixed Fibers

| Topic: | Energy XWaste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College, Academic Buildings |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Expand mixed fibers recycling capacity, and increase recycling by 25%. The FSC Recycles -Fibers Recycling Program Team and Implementation Plan consists of dedicated managers and staff to oversee the program. A redesigned mixed fibers collection schedule that integrates new recycling locations and a greater number of bins and toters into the existing workload of Capital Planning and Maintenance staff members is in place. Increased mixed fibers recycling rates are predicted as the college bookstore, dining services and all academic buildings will be included in our recycling program. *FSC received a FY06 Pilot Project grant that supplied 175 bins, 25 toters and signage for our new program. The bins and toters have been positioned in academic buildings and the college library. |  |  |
| Cost: | $8000 $7050 from FY06 State Sustainability Pilot Project Grant/ EOEA | Savings (if relevant): |  |
| Results (env. and other benefits) | Diverting fibers from the solid waste stream will reduce overall disposal costs for the college, capture a valuable commodity and generate revenue for the college. Our mixed fibers recycling rate increased by 7%. This figure is approximate, as we use the maximum capacity of the BFI toters for white paper, and have included the dining service and bookstore into our cardboard recycling program. BFI picks up office paper at no charge but offers no tonnage reports. We are phasing out the program with BFI, as we outfit more academic building with bins and toters. We will generate more accurate recycling rates once the BFI program is discontinued. The interest for recycling at the college is at an all time high, with input and support from both students and the administration. |  |  |

Please copy and add additional pages as needed

### Project Name: FSC Recycles – Beverage Containers

| Topic: | Energy XWaste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College, Aubuchon residence hall; Commuter Cafe |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Two reverse vending machines have been installed and positioned at the most traveled areas on campus. All redemption monies will be returned to the program, net revenue will be deposited into the general Student Government Association account. |  |  |
| Cost: | $23,040: $11520 lease fee per RVM for 36 months. | Savings (if relevant): | No figures are available, the RVM have not been metered since installation |
| Results (env. and other benefits) | Diverting beverage containers from the solid waste stream will reduce overall disposal costs for the college, capture a valuable commodity and generate revenue for the college. The interest for recycling at the college is at an all time high, with input and support from both students and the administration. |  |  |

### Project Name: FSC Recycles – Miscellaneous

| Topic: | Energy XWaste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Partnering with IRN, the college now recycles cell phones and handheld electronics, toner and inkjet cartridges. Used components are collected and packaged in prepaid shipping cartons and sent to various vendors. |  |  |
| Cost: | No cost. | Savings (if relevant): | $1-23 per unit |
| Results (env. and other benefits) | This is a new program, but over 100 cell phones and 125 inkjet and toner cartridges have been collected. |  |  |

### Project Name: Townhouse heating/hot water upgrade

| Topic: | Energy Waste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics X Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Separation of the Townhouse residential buildings from the central steam plan, with the installation of natural gas furnaces and hot water tanks. |  |  |
| Cost: | $30,000-$50,000 per building. | Savings (if relevant): |  |
| Results (env. and other benefits) | Four townhouse buildings have been converted to heating and hot water with natural gas, with two additional projects planned. Lower emissions from the central steam plant will decrease our total production of hazardous air pollutants and the less amount of fuel oil we purchase will conserve a natural resource. |  |  |

Project Name: Central Steam Plant Dual Fuel Project

| Topic: | Energy Waste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics X Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | Boiler #1 in the main steam plant was converted to dual fuel (natural gas, fuel oil). We will only operate on fuel oil if there is an interruption in the natural gas supply to the college. |  |  |
| Cost: |  | Savings (if relevant): |  |
| Results (env. and other benefits) | Lower emissions from the central steam plant will decrease our total production of hazardous air pollutants and the less amount of fuel oil we purchase will conserve a natural resource. |  |  |

Project Name: Holmes Dining Renovations

| Topic: | Energy Waste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics X Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | As part of the project the one half of the HVAC requirements for the operation was removed from the central steam plant and converted to a heating, cooling and hot water system fueled on natural gas. |  |  |
| Cost: |  | Savings (if relevant): |  |
| Results (env. and other benefits) | Lower emissions from the central steam plant will decrease our total production of hazardous air pollutants and the less amount of fuel oil we purchase will conserve a natural resource. |  |  |

### Project Name: GEM Car Fleet

| Topic: | XEnergy Waste/Recycling Sustainable Design Other Water Purchasing Mercury/Toxics Natural Resources |  |  |
| --- | --- | --- | --- |
| Facility Info: | Fitchburg State College |  |  |
| Contact Name: | Joanne Soczek |  |  |
| Contact Phone: | 978-665-3756 | Contact Email: | jsoczek@fsc.edu |
| Project Description: | GEM cars will be used for all on campus travel. The fleet consists of 12 GEM electric vehicles |  |  |
| Cost: | $2999/year to charge | Savings (if relevant): | $28,537. |
| Results (env. and other benefits) | A cost of $0.13 /KWh, 12 GEM cars traveling 40 miles /day costs $2999 in electricity. Using a gasoline powered vehicle with an average of 12 mpg at $2.16 /gal gasoline costs $31,536. Financial savings and the reduction in CO2 emissions are significant. |  |  |